## Slide 1: Project Plan: Grid Frequency Control with 5G

## Slide 2: Introduction
Implement a grid frequency control system using distributed energy resources (DERs).
Integrate and utilize 5G communication technology for real-time control.
Demonstrate how 5G enables low-latency and high-reliability communication between controllers.
Evaluate system performance with 5G versus traditional communication methods.

## Slide 3: Project Objective
To implement and test a grid frequency control system using 5G communication
in a PHIL setup that simulates a distribution network with multiple generation units.

## Slide 4: Overview of Project Setup
• 4 Distributed Generation Units (DGUs): Grid, Supercapacitor, Battery, Fuel Cell
• Real-Time Computers (RTCs) running control models in Simulink
• 5G modules connected via BTU’s private 5G network
• Frequency reference signals determine control actions in DGUs

## Slide 5: Project Planning
We structured the project into 4 main phases:
1. Familiarization with Lab Equipment
2. Setup and Configuration of 5G Modules
3. Integration of System Components
4. Testing and Evaluation
Each phase includes subtasks and is assigned to team members with deadlines.

## Slide 6: Phase 1: Familiarization
Subtasks:
• Understand PHIL demo environment
• Identify hardware interfaces and communication lines
Deliverables:
• Equipment checklist
• Lab access and setup verification

## Slide 7: Phase 2: 5G Setup
Subtasks:
• Configure 5G modems and integrate with RTCs
• Test latency and bandwidth of 5G network
Deliverables:
• Working 5G link between all components
• Network performance report

## Slide 8: Phase 3: System Integration
Subtasks:
• Connect control models in Simulink to physical components
• Implement frequency control strategy
Deliverables:
• Integrated control model
• Functional closed-loop system

## Slide 9: Phase 4: Testing & Evaluation
Subtasks:
• Introduce frequency disturbances and observe system response
• Compare performance with and without 5G
Deliverables:
• Test reports
• Final presentation and documentation

## Slide 10: Project Timeline
Week 1–2: Familiarization
Week 3–4: 5G Setup
Week 5–6: System Integration
Week 7–8: Testing and Finalization
Weekly meetings for progress tracking and task reassignment.